| Questionnaire Title | Core Questions (Core IRRS modules) |
| --- | --- |
| Module Name | 06. Review and Assessment |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the legal or regulatory provisions that enable the regulatory body to review and assess information relevant to safety for determining whether the applicant for authorization or the authorized party complies with applicable regulatory requirements? [Topic 6.1] | A | F |
| Expectation | There is legal and/or regulatory provisions for a regulatory body to review and assess the relevant information on safety and compliance of facilities and activities with regulatory requirements. Review and assessment are performed again over the lifetime of the facility or the duration of the activity with respect to criteria consistent with and derived from the requirements stipulated in the national legislation and regulations and in the conditions attached to the authorizations, as specified in regulations promulgated by the regulatory body or in the authorization. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | The information for review and assessment may be submitted by the authorized party or the vendor, may come from inspections, information on events, feedback on operating experience at national and international levels or other specified reports (e.g. records, comprehensive safety reviews, dose records) relevant to the safety of the facility or activity, or obtained elsewhere. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 49 | Requirement 25 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How does the regulatory body review and assess information relevant to safety? [Topic 6.1] | A | F |
| Expectation | The regulatory body has an established formal process for review and assessment that covers all regulated facilities and activities and all the aspects relevant to safety. The depth and scope of the review and assessment of the facility or activity by the regulatory body is commensurate with the radiation risks associated with the facility or activity in accordance with a graded approach. The criteria for regulatory review and assessment are consistent with and derived from the requirements stipulated in the national legislation and regulations. The regulatory body ensures that any reasonably practicable safety improvements identified in the reviews are implemented in a timely manner. The regulatory body reviews and assesses any change or modification that might significantly affect the safety of a facility or an activity. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | The basic components of the review and assessment process include the following: (a) Definition of the scope of the review and assessment process; (b) Specification of the purpose of and technical bases for the review and assessment process (these could be considered acceptance criteria for the review and assessment); (c) Verification of comprehensiveness and quality of submitted information (d) Identification of additional information, if necessary, for the review and assessment; (e) Performance of a step-by-step review and assessment procedure to determine whether the applicable safety objectives and regulatory requirements have been met for each aspect or topic; (f) Decisions on the acceptability of the authorized party’s safety arguments or the need for further submissions; (g) Reporting and documentation. In carrying out the review and assessment, the regulatory body may find it useful to perform its own analyses or research or decide to perform confirmatory calculations to check that the authorized party has properly assessed a particular aspect of safety. Please also refer to Safety Guide GSG-13 (Functions and Processes of the Regulatory Body for Safety). |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 49 | Requirement 25, 26 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the regulatory requirements relating to the safety assessment of facility or activity carried out by the applicant or authorized party. [Topic 6.1] | A | F |
| Expectation | The regulatory body ensures that the applicant carry out a safety assessment with a depth and scope that commensurate with the radiation risks associated with the facility or activity in accordance with a graded approach. The safety assessment carried out determines whether an adequate level of safety has been achieved for a facility or activity and whether the basic safety objectives and safety criteria established by the designer, the operating organization and the regulatory body have been fulfilled. An independent verification of the safety assessment is provided to the regulatory body by the applicant. The safety assessment is maintained in accordance with a process, and periodically reviewed and updated. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | The safety assessment of a facility or activity needs to be carried out and owned by the applicant or the authorized party to support its safety case. Safety assessment is carried out in compliance with the requirements of the GSR Part 4 (Rev 1) and includes at least the assessment of; - Radiation risks; - Safety functions; - Site characteristics, if applicable; - Radiation protection; - Engineering aspects of design; - Human factors; - Defence in depth, where applicable; - Relevant operational experience. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 68 | Requirement 13 |
| Safety Standards Series No. GSR Part 4 (Rev. 1) |  | 27 | Requirement 1 - 4 |
| Safety Standards Series No. GSR Part 4 (Rev. 1) |  | 48 | Requirement 21 |
| Safety Standards Series No. GSR Part 4 (Rev. 1) |  | 50 | Requirement 24 |