| Questionnaire Title | Facilities and Activities and Exposure Situations |
| --- | --- |
| Module Name | Safety Requirements for Medical Exposure |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What requirements for medical exposure are taken into account in the authorization of facilities and activities? [Topic 5.10] | B | F |
| Expectation | [Note: The part of this primary question related to Authorization is only to reveal any specific information related to authorization as it applies to medical exposure. DO NOT REPEAT any information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] Requirements for control of medical exposure established by legislation are taken into account during the authorization process. These requirements among others are related to: - ensuring that protection and safety is optimized for medical exposure - dose constraints and dose reference levels are specified for medical exposures, - radiation protection of patients, carers and comforters, and volunteers in biomedical research. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 53 | Req 3; Paras 3.145 -3.146 |
| Safety Standards Series No. GSR Part 3 |  | 103 |  |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements for medical exposure that the regulatory body takes into account during the review and assessment process for facilities and activities? [Topic 6.10] | B | F |
| Expectation | [Note: The part of this primary question related to Review and Assessment is only to reveal any specific information related to review and assessment as it applies to medical exposure. DO NOT REPEAT any information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] Requirements for control of medical exposure established by legislation and conditions of authorization are considered during the review and assessment process. The review and assessment process of the regulatory body for medical exposure includes, among others: - the review of the information submitted by the applicant, registrant or licensee in relation to justification and optimization of medical exposure (design, conduct, source calibration, dosimetry of patients, reference levels, dose constraint). - the review of quality assurance for medical exposure - the assessment of the results of radiological review of facilities Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 53 | Requirement 3; 37; 38 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How does the regulatory body verify during inspection of facilities and activities compliance the requirements for medical exposure? [Topic 7.10] | B | F |
| Expectation | [Note: The part of this primary question related to Inspection is only to reveal any specific information related to inspection as it applies to medical exposure. DO NOT REPEAT any information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] Requirements for control of medical exposure established by legislation and conditions of authorization are verified during inspection of facilities and activities. Inspection programme of the regulatory body includes inspection of medical exposures. Inspection of the regulatory body for protection of patients includes among others verification of: - compliance with the optimization requirements; - application of dose constraints and diagnostic reference levels; - radiation protection of patient, carers and comforters and volunteers in biomedical research; - compliance with the requirements for health professionals; - compliance with the justification and optimization requirements; - calibration of the sources used and dosimetry of patients; - Inspection of compliance with the special requirements on radiation protection of pregnant and breast-feeding patients; - Inspection of arrangements before release of patients; - Inspection of records and radiological reviews. Inspection procedure(s), guidance and check list(s) used during inspection of facilities and activities take into consideration medical exposure requirements. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 53 | Requirement 3; 3.150 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How does the government ensure that relevant parties are authorized to assume their roles and responsibilities and that diagnostic reference levels, dose constraints, and criteria and guidelines for the release of patients are established? [Topic 5.10] | B | F |
| Expectation | The relevant parties, such as radiological medical practitioner, referring medical practitioners, medical physicists and medical radiation technologists are: - authorized to assume their roles and responsibilities in relation to protection and safety for individuals undergoing medical exposures; - notified of their duties in relation to protection and safety for individuals undergoing medical exposures. As a result of consultation between the health authority, relevant professional bodies and the regulatory body that: - a set of diagnostic reference levels (DRLs) is established for medical exposures incurred in medical imaging, including image guided interventional procedures, with account taken of the need for adequate image quality; - dose constraints are established for exposures of careers and comforters and for exposures of volunteers participating in a programme of biomedical research; - criteria and guidelines are established for the release of patients who have undergone therapeutic radiological procedures using unsealed sources or patients who still retain implanted sealed sources. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | Referring medical practitioner is a health professional who, in accordance with national requirements, may refer individuals to a radiological medical practitioner for medical exposure. Radiological medical practitioner is a health professional with specialist education and training in the medical uses of radiation, who is competent to perform independently or to oversee radiological procedures in a given specialty (radiology, nuclear medicine, radiation therapy, dentistry, cardiology, orthopedic surgery, neurosurgery, etc.) Medical radiation technologist is used in the GSR Part 3 as a generic term for the health professional known by several terms in different countries, such as radiographer, radiological technologist, radiation therapist, etc. DRLs are an important tool and should be used for optimization of protection and safety for diagnostic medical exposure. Dose constraints are not dose limits; they are tools for optimization of protection and safety of carers and comforters, and volunteers in biomedical research. Typical patient doses and national DRLs would be two considerations in setting such dose constraints. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 103-104 | Req. 34; paras 3.147-3.149 |
| SSG 46 |  | 33-40 | 2.34-2.51 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements established by the regulatory body for health professionals with responsibilities for medical exposure. [Topic 9.10] | B | F |
| Expectation | There are regulatory requirements which require that health professionals with responsibilities for medical exposure are specialized in the appropriate area, that they fulfil the requirements for education, training and competence in the relevant specialty and are named in a list maintained up to date by the registrant or licensee. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | The following groups of health professionals are included: radiological medical practitioners, medical physicists, medical radiation technologist and any other health professionals with specific duties in relation to the radiation protection of patients. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 104 | Req. 35 and para. 3.150 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements in place to ensure that no person (including individuals as part of a programme of biomedical research and carer or comforter) incurs a medical exposure unless certain conditions ensuring protection and safety are met? [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements which require that registrants and licensees ensure that no patient, whether symptomatic or asymptomatic, undergoes a medical exposure unless: (a) The radiological procedure has been requested by a referring medical practitioner and information on the clinical context has been provided, or it is part of an approved health screening programme; (b) The medical exposure has been justified through consultation between the radiological medical practitioner and the referring medical practitioner, as appropriate, or it is part of an approved health screening programme; (c) A radiological medical practitioner has assumed responsibility for protection and safety in the planning and delivery of the medical exposure; (d) The patient or the patient’s legal authorized representative has been informed, as appropriate, of the expected diagnostic or therapeutic benefits of the radiological procedure as well as the radiation risks. There are regulations/regulatory requirements which require that registrants and licensees ensure that no individual incurs a medical exposure as part of a programme of biomedical research unless the exposure has been approved by an ethics committee (or by other institutional body assigned similar functions by relevant authority) and a radiological medical practitioner has assumed responsibility and that dose constraints are used in the optimization of protection and safety for persons subject to exposure as part of a programme of biomedical research. There are regulations/regulatory requirements which require that registrants and licensees ensure that no individual incurs a medical exposure as a carer or comforter unless he or she has received, and has indicated an understanding of, relevant information on radiation protection and information on radiation risks prior to providing care and comfort to an individual undergoing a radiological procedure and that dose constraints are used in the optimization of protection and safety for any radiological procedure in which an individual acts as a carer or comforter. There are regulations/regulatory requirements which require registrants and licensees to ensure that: - radiological medical practitioner performing or overseeing the radiological procedure has assumed responsibility for ensuring overall protection and safety of patients in planning and delivery of medical exposure; - sufficient medical personnel and paramedical personnel are available as specified by the health authority; - requirements for calibration, dosimetry and quality assurance are fulfilled by or under the supervision or with the documented advise of medical physicist. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 105 | Req. 36; para. 3.151-3.154 |

| QTYPE | Primary Question |  | SA | IL |
| --- | --- | --- | --- | --- |
| Boolean | What are the requirements in place to ensure that the medical exposures, including radiological procedures for asymptomatic individuals and volunteers as part of a programme of biomedical research, are justified? [Topic 9.10] |  | B | F |
| Expectation | There are regulations/requirements that medical exposures are justified by weighing the diagnostic or therapeutic benefits that they are expected to yield against the radiation detriment that they might cause, with account taken of the benefits and the risks of available alternative techniques that do not involve medical exposure. The generic justification of a radiological procedure is carried out by the health authority in conjunction with appropriate professional bodies, and is reviewed from time to time, with account taken of advances in knowledge and technological developments. The justification of medical exposure for an individual patient is carried out by means of consultation between the referring and radiological medical practitioners, as appropriate, with account taken for patients who are pregnant or breast-feeding or are pediatric. Relevant national or international referral guidelines are taken into account for the justification of medical exposure of an individual patient in radiological procedures. Specific justification for a radiological procedure for an asymptomatic individual that is intended to be performed for the early detection of disease, but not as part of an approved health screening programme, is required by the referring and radiological medical practitioners, in accordance with the guidelines of relevant professional bodies or the health authority and that the individual is informed in advance of the expected benefits, risks and limitations of the radiological procedure as part of this process. The justification for a radiological procedure for an asymptomatic individual to be performed as part of a health screening programme is carried out by the health authority in conjunction with appropriate professional bodies. The medical exposure of volunteers as part of a programme of biomedical research is deemed not to be justified unless: (a) It is in accordance with the provisions of the Helsinki Declaration and takes into account the guidelines published by the Council for International Organizations of Medical Sciences, and recommendations from ICRP; (b) It is subject to approval by an ethics committee or other institutional body, subject to any dose constraints, and subject to applicable national regulations and local regulations. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |  |
| Help |  |  |  |  |
| Question Tags (one row per Tag) |  |  |  |  |
| Category | Name |  |  |  |
| References (one row per reference) |  |  |  |  |
| Name | Comments | Page |  | Para |
| Safety Standards Series No. GSR Part 3 |  | 107 |  | Req. 37; 3.155-3.161 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements set by the regulatory body and relevant arrangements regarding the optimization of protection and safety for each medical exposure. [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements for registrants and licensees and radiological medical practitioners to ensure that protection and safety is optimized for each medical exposure. Requirements and arrangements for optimization of protection and safety are in place related to: - Design considerations (including medical radiological equipment and software), and conformity with applicable IEC/ISO standards or to national standards adopted by the regulatory body; - Operational considerations (specific for diagnostic and image guided interventional and therapeutic radiological procedures); - Calibration procedures (for all sources giving rise to medical exposure, radiation therapy units and dosimeters used for dosimetry of patients and for the calibration of sources); - Dosimetry of patients; - Diagnostic reference levels; - Quality assurance for medical exposure; - Dose constraints. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 108 | Req. 38; 3.162-3.174 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements to ensure that there are arrangements in place for appropriate radiation protection in cases where a female patient is or might be pregnant or is breast-feeding? [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements which require registrants and licensees to ensure that: - signs in appropriate languages are placed in public places, waiting rooms for patients, cubicles and other appropriate places, and that other means of communication are also used as appropriate, female patients who are to undergo a radiological procedure are requested to notify the radiological medical practitioner, medical radiation technologist or other personnel in the event that: (a) She is or might be pregnant; (b) She is breast-feeding and the scheduled radiological procedure includes the administration of a radiopharmaceutical. - there are procedures in place for establishing that a female patient is not currently breast-feeding before the performance of any radiological procedure involving the administration of a radiopharmaceutical that could result in a significant dose to a breastfed infant; - there are procedures in place for ascertaining the pregnancy status of a female patient of reproductive capacity before the performance of any radiological procedure that could result in a significant dose to the embryo or fetus. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 112-113 | Req. 39; 3.175-3.177 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the arrangements in place to ensure appropriate radiation protection for members of the public and for family members before a patient is released following radionuclide therapy. [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements that require that the radiological medical practitioner ensure that no patient who has undergone a therapeutic radiological procedure with a sealed source or an unsealed source is discharged from a medical radiation facility until it has been established by either a medical physicist or the facility’s radiation protection officer that: (a) The activity of radionuclides in the patient is such that doses that could be received by members of the public and family members would be in compliance with the requirements set by the relevant authorities; and (b) The patient or the legal guardian of the patient is provided with: (i) Written instructions for keeping doses to persons in contact with or in the vicinity of the patient as low as reasonably achievable and for avoiding the spread of contamination, (ii) Information on the radiation risks. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 113 | Req. 40; para 3.178 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How is it ensured that all practicable measures are taken to minimize the likelihood of unintended or accidental medical exposures? [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements in place that require registrants and licensees to ensure that all practicable measures are taken to minimize the likelihood of unintended or accidental medical exposures arising from flaws in design and operational failures of medical radiological equipment, from failures of and errors in software, or as a result of human error. There are regulations/regulatory requirements that require registrants and licensees to promptly investigate unintended or accidental medical exposures. Registrants and licensees are required calculate or estimate dose received, indicate and implement corrective actions to prevent the recurrence of an unintended or accidental medical exposure, produce and keep a written record and submit this written record, as soon as possible, to the regulatory body, and to the relevant health authority if appropriate, for significant unintended or accidental medical exposures or as otherwise required by the regulatory body and that the appropriate radiological medical practitioner informs the referring medical practitioner and the patient or the patient’s legal authorized representative of the unintended or accidental medical exposure. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | Unintended or accidental medial exposures includes any medical treatment delivered to the wrong individual or to the wrong tissue or organ of the patient, or using the wrong radiopharmaceutical, or with an activity, a dose or dose fractionation differing substantially from (over or under) the values prescribed by the radiological medical practitioner, or that could lead to unduly severe secondary effects; any diagnostic radiological procedure or image guided interventional procedure in which the wrong individual or the wrong tissue or organ of the patient is subject to exposure; any exposure for diagnostic purposes that is substantially greater than was intended; any exposure arising from an image guided interventional procedure that is substantially greater than was intended; any inadvertent exposure of the embryo or fetus in the course of performing a radiological procedure; any failure of medical radiological equipment, failure of software or system failure, or accident, error, mishap or other unusual occurrence with the potential for subjecting the patient to a medical exposure that is substantially different from what was intended. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 114 | Req. 41; para 3.179-3.181 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements in place for radiological reviews at medical radiation facilities and for maintaining records? [Topic 9.10] | B | F |
| Expectation | There are regulations/regulatory requirements in place to require registrants and licensees ensure that radiological reviews are performed periodically by the radiological medical practitioners at the medical radiation facility, in cooperation with the medical radiation technologists and the medical physicists. There are regulations/regulatory requirements that require registrants and licensees to maintain the following records for medical exposure: (a) For diagnostic radiology, information necessary for retrospective assessment of doses, including the number of exposures and the duration of fluoroscopic radiological procedures; (b) For image guided interventional procedures, information necessary for retrospective assessment of doses, including the duration of the fluoroscopic component and the number of images acquired; (c) For nuclear medicine, the types of radiopharmaceutical administered and their activity; (d) For external beam radiation therapy or brachytherapy, a description of the planning target volume, the absorbed dose to the centre of the planning target volume, and the maximum and minimum absorbed doses delivered absorbed doses to the planning target volume, and the absorbed doses to relevant tissues or organs as determined by the radiological medical practitioner; and in addition, for external beam radiation therapy, the dose fractionation and the overall treatment time; (e) Exposure records for volunteers subject to medical exposure as part of a programme of biomedical research; (f) Reports on investigations of unintended and accidental medical exposures There are regulations/regulatory requirements that require registrants and licensees to maintain for a period as specified by the regulatory body and make available records of any delegation of responsibilities by the principal party and records of training personnel in radiation protection; as well as records of calibration, dosimetry and quality assurance. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help | The radiological review includes an investigation and critical review of the current practical application of the radiation protection principles of justification and optimization for the radiological procedures that are performed in the medical radiation facility. |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 115 | Req. 42; para 3.182-3.185 |