| Questionnaire Title | Facilities and Activities and Exposure Situations |
| --- | --- |
| Module Name | Safety Requirements for Radiation Sources |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements for any person or organization intending to operate a facility or to conduct an activity to submit a notification, and as appropriate, an application for authorization to the regulatory body? [Topic 5.6] | B | F |
| Expectation | [Note: The part of this primary question related to Authorization is only to reveal any specific information related to authorization as it applies to radiation sources facilities and activities. DO NOT REPEAT any information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] There are regulatory requirements that any person or organization intending to introduce, conduct, cease a practice, or as applicable, mine, extract, process, design, manufacture, construct, assemble, install, acquire, import, export, supply, provide, distribute, loan, hire, receive, site, locate, commission, possess, use, operate, maintain, repair, transfer, decommission, disassemble, transport, store or dispose of a source should submit a notification, and as appropriate an application for authorization, to the regulatory body. There are regulatory requirements for registrants and licensees to notify the regulatory body of any intention to introduce modifications to any practice or source for which they are authorized, whenever the modifications could have significant implications for protection and safety. There are requirements relating to notifications to the regulatory body of actions involved in the management of radioactive sources that may engender a significant risk to individuals, society, or the environment. Authorization by the regulatory body is a pre-requisite for all facilities and activities using radiation sources that are not either explicitly exempted or approved by means of a notification process. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 61 | Requirement 7 |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 46 | Requirement 23 |
| IAEA CODEOC 2004 |  | 15 | 19(e) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements established by the regulatory body for the conduct of safety assessment in facilities and activities using radiation sources? [Topic 9.6] | B | F |
| Expectation | There is a requirement to submit to the regulatory body, prior to the granting of an authorization, safety assessment of facilities and activities using radiation sources. There is requirement to conduct safety assessment at different stages, including siting, design, manufacture, construction, assembly, operation and decommissioning (or closure) of facilities or parts thereof as appropriate. There is a requirement that safety assessments are documented and where appropriate independently reviewed. The regulatory body performs separate independent verification to satisfy itself that the safety assessment is acceptable. There is a requirement for additional reviews of safety assessment when significant modification or change has been made to the facility or activity or its operating procedures. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 68 | Requirement 13 |
| Safety Standards Series No. GSR Part 3 |  | 70 | 3.35 |
| Safety Standards Series No. GSR Part 4 (Rev. 1) |  | 49 | 4.71 |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | Describe the requirements for registrants and licensees to conduct monitoring to be performed to verify compliance with requirements. [Topic 9.6] | T | T |
| QData |  |  |  |
| Expectation | There are requirements for registrants and licensees to perform monitoring and measurements to verify with the requirements for protection and safety. Suitable and properly maintained, tested and calibrated equipment and procedures for verification are implemented. Records are maintained of the results of monitoring and shared with the regulatory body as required. The regulatory body reviews and approves the monitoring and measurement programmes of registrants and licensees. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 70 | Requirement 14 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the review and assessment of facilities and activities using radiation sources that the regulatory body performs for determining compliance with regulatory requirements. [Topic 6.6] | A | F |
| Expectation | [Note: This primary question is only to reveal any specific information related to regulatory review and assessment as it applies to radiation sources facilities and activities. DO NOT REPEAT information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] The regulatory body reviews and assesses relevant information to determine whether radiation sources facilities and activities comply with regulatory requirements. The regulatory body has established a regulatory system for protection and safety that includes review and assessment of radiation sources facilities and activities Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 49 | Requirement 25 and 26 |
| Safety Standards Series No. GSR Part 3 |  | 53 | 2.30(b) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the inspection programme established and implemented by the regulatory body of facilities and activities using radiation sources. [Topic 7.6] | B | F |
| Expectation | [Note: This primary question is only to reveal any specific information related to regulatory inspection as it applies to radiation sources facilities and activities. DO NOT REPEAT information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] A system of inspection for radiation sources facilities and activities is established and implemented in accordance with a graded approach. There is a requirement to permit access for and cooperate with inspectors of radiation sources facilities and activities during inspection. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 51 | Req. 27, 28 and 29 |
| Safety Standards Series No. GSR Part 3 |  | 53 | 2.30(c) |
| Safety Standards Series No. GSR Part 3 |  | 56 | 2.45 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How has the government or the regulatory body determined which practices or sources within practices are to be exempted from some or all aspects of regulatory control? [Topic 5.6] | B | F |
| Expectation | The government has determined which practices or sources are exempted from some or all regulatory control requirements including the requirements for notification, registration or licensing based on the criteria for exemption specified in Schedule 1 of GSR Part 3. Exemption has not been granted for practices deemed to be not justified. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 63 | Requirement 8 |
| IAEA CODEOC 2004 |  | 15 | 19(d) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How does the government or the regulatory body ensure that only justified practices are authorized? [Topic 5.6] | B | F |
| Expectation | There are provisions made for the justification of any type of practice and for review of the justification, as necessary. The government or the regulatory body ensure that only justified practices are authorized. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 65 | Requirement 10 and para. 3.16 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements for the optimization of protection and safety and how they are enforced by the government or the regulatory body. [Topics 8.6 and 9.6] | B | F |
| Expectation | [Note: This primary question is only to reveal any specific information related to enforcement as it applies to radiation sources facilities and activities. DO NOT REPEAT information that has already been provided in the core modules dealing with GSR Part 1 (Rev. 1).] The government or the regulatory body has established and enforce requirements for the optimization of protection and safety, and ensures that protection and safety is optimized. The government or the regulatory body requires documentation addressing the optimization of protection and safety. The government or the regulatory body has established or approved constraints on dose and on risk, as appropriate, or has established or approved a process for establishing such constraints, to be used in the optimization of protection and safety. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 66 | Requirement 11 and para. 3.22-3.23 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the regulatory requirements in place for registrants and licensees to ensure the safety of radiation generators and radioactive sources? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements in place for registrants and licensees to ensure safety of radiation generators and radioactive sources. Responsibilities of registrants and licensees who are manufacturers or other suppliers of radiation generators and radioactive sources are clearly defined. There are requirements for registrants and licensees to make suitable arrangements with suppliers, the regulatory body and relevant parties where applicable. There are regulatory requirements for registrants and licensees to take into account certain factors when choosing a location to use or to store radiation generators or radioactive sources, or when selecting a site for a facility that will contain a large amount of radioactive material and that will have the potential for the release of significant amounts of radioactive material. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 75 | Requirement 17 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the arrangements in place for regaining control over radioactive sources that have been abandoned, lost, misplaced, stolen or otherwise transferred without proper authorization? [Topic 5.6] | B | F |
| Expectation | The government has ensured that arrangements are in place for gaining and regaining control over radioactive sources that have been abandoned, lost, misplaced, stolen or otherwise transferred without proper authorization. There are provisions for rapid response for the purpose of regaining control over orphan sources. The regulatory body is prepared or has established provisions, to recover and restore appropriate control over orphan sources. The regulatory body is prepared, in respect of orphan sources that may have originated within the State, to assist in obtaining technical information relating to their safe management. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 52 | 2.26 |
| IAEA CODEOC 2004 |  | 18 | 22(o) (p) |
| IAEA CODEOC 2004 |  | 12 | 8 (d) |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | What are the national strategies in place for gaining and regaining control over orphan sources? [Topic 9.6] | T | T |
| QData |  |  |  |
| Expectation | There are national strategies and arrangements in place for gaining and regaining control over orphan sources. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 12 | 8(c) |
| Safety Standards Series No. GSR Part 3 |  | 52 | 2.26 |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | How does the government or the regulatory body promote awareness among industry, health professionals, the public, and government bodies of the safety hazards associated with orphan sources? [Topic 9.6] | T | T |
| QData |  |  |  |
| Expectation | There are awareness promotion activities on the safety hazards associated with orphan sources to industry, health professionals, the public and government bodies. The government or the regulatory body encourages bodies and persons likely to encounter orphan sources during the course of their operations (such as scrap metal recyclers and customs posts) to implement appropriate monitoring programmes to detect such sources. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 52 | 2.26 |
| IAEA CODEOC 2004 |  | 13 | 13(a)(b) |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | Describe the regulatory body’s authority to monitor, or request other authorized bodies to monitor, at appropriate checkpoints for the purpose of detecting orphan sources. [Topic 9.6] | T | T |
| QData |  |  |  |
| Expectation | The legal framework includes provisions that provide the regulatory body with authority for monitoring or to request monitoring for detection of orphan sources. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 17 | 20 (j) |
| Safety Standards Series No. GSR Part 3 |  | 52 | 2.26 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements established by the regulatory body for protective actions and exercised regulatory control over protective actions, including for minimizing the likelihood of loss of control of radioactive sources. [Topic 9.6] | B | F |
| Expectation | There are regulatory requirements and a regulatory system of control in place to minimize the likelihood of control of radioactive sources. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 34 | 2.26 |
| IAEA CODEOC 2004 |  | 12 | 8(b) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the mechanisms in place for providing information on any loss of control or any incidents involving radioactive sources, including potential transboundary effects, to governments, and national and international organizations? [Topic 3.8] | B | F |
| Expectation | There is a system in place that information concerning any loss of control over radioactive sources, or any incidents, with transboundary effects is provided promptly to potentially effected States through established IAEA or other mechanisms. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 13 | 12 |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 56 | 4.66(e) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements that the regulatory body, in conjunction with other relevant authorities, specified for acceptance and for performance, for any manufactured or constructed source, device, equipment or facility that, when in use, has implications for protection and safety? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements for acceptance and for performance for any manufactured or constructed source, device, equipment or facility that, when in use, has implications for protection and safety are specified by regulatory body, either by regulation or by the application of published standards. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 54 | 2.34 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the provisions that the regulatory body, in consultation with the health authority, has put in place for ensuring protection and safety in the handling of deceased persons or human remains that are known to contain sealed or unsealed radioactive sources, either as a result of radiological procedures for medical treatment of patients or as a consequence of an emergency? [Topic 9.6] | B | F |
| Expectation | There are regulatory requirements to ensure the safety in handling of deceased persons or human remains that are known to contain sealed or unsealed radioactive sources, either as a result of radiological procedures for medical treatment of patients or as a consequence of an emergency. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 54 | 2.37 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the provisions made by the regulatory body for establishing, maintaining and retrieving a national register of radioactive sources and radiation generators? [Topic 3.7] | B | F |
| Expectation | There is a national register of radiation sources in place which, as a minimum, includes all IAEA Category 1 and 2 radioactive sources in the State. The information in the national register is kept up to date. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 54 | 2.35 |
| IAEA CODEOC 2004 |  | 13 | 11 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements for registrants and licensees to maintain an inventory that includes records of radiation sources? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements that licensees and registrants maintain an inventory that includes records of the location and description of each radiation generator or radioactive source for which they are responsible, as well as the activity and form of each radioactive source for which they are responsible. There are regulatory requirements that the inventory records are checked periodically to confirm that they are in their assigned locations and are under control. The regulations/regulatory requirements require that registrants and licensees ensure that sealed sources are categorized in accordance with the categorization scheme set out in Schedule II of GSR Part 3 and in accordance with the requirements of the Regulatory Body There are regulations/regulatory requirements that require registrants and licensees to provide the regulatory body with appropriate information from their inventory records of radiation generators and radioactive sources. The regulatory body ensures that inventory controls are conducted on a regular basis by persons with authorizations. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 76 | 3.53; 3.56 |
| IAEA CODEOC 2004 |  | 18 | 22 (h) |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | What are the requirements in place for registrants and licensees to promptly notify the regulatory body with information regarding a radioactive source or radiation generator that is lost, missing or not under control? [Topic 9.6] | T | F |
| QData |  |  |  |
| Expectation | There are regulations/regulatory requirements that require registrants and licensees to promptly notify the regulatory body with information regarding a radioactive source or radiation generator that is lost, missing or not under control. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 18 | 22 (h) |
| Safety Standards Series No. GSR Part 3 |  | 76 | 3.55 (b) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the provisions in place for transferring a radiation generator or a radioactive source from one legal person to another? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements that a radiation generator or a radioactive source is transferred only with authorization. There are regulatory requirements requiring those supplying or transfer of radioactive sources or devices incorporating radioactive sources to provide the recipient with all relevant technical information to permit their safe management. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 77 | 3.55 (c) |
| IAEA CODEOC 2004 |  | 16 | 20 (g) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements for registrants and licensees that, in cooperation with manufacturers, ensure, where applicable, that sealed sources are identifiable and traceable. [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements that require sealed source to be identifiable and traceable. There are regulatory requirements that require the manufacturer of a radioactive source or a device containing radioactive source to ensure that where practicable the sources itself and its container are marked with the symbol recommended. The regulatory body has established regulatory requirements/systems for ensuring that, where practicable, both radioactive sources and their containers, are marked by users with an appropriate sign to warn members of the public of the radiation hazard, or at least the container is so marked. The regulatory body has established systems for ensuring that, where practicable, radioactive sources are identifiable and traceable, or where this is not practicable, ensures that alternative processes for identifying and tracing those sources are in place. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 18 | 22 (e)(g) |
| Safety Standards Series No. GSR Part 3 |  | 77 | 3.57, 3.58 |

| QTYPE | Subsidiary Question | True/False | Compulsory |
| --- | --- | --- | --- |
| T | How does the regulatory body ensure that areas where radioactive sources are managed are marked by users with appropriate signs to warn workers or members of the public, as applicable, of the radiation hazard? [Topic 9.6] | T | F |
| QData |  |  |  |
| Expectation | There are regulatory requirements/systems that require that areas where radioactive sources are managed are marked by users with appropriate signs. |  |  |
| Help |  |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 18 | 22 (f) |
| Safety Standards Series No. GSR Part 3 |  | 77 | 3.57 - 3.58 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | Describe the requirements for registrants and licensees to ensure that when radioactive sources are not in use they are stored in an appropriate manner for protection and safety? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements that radioactive source not in use be stored in an appropriate manner. The regulatory body ensures, through its regulatory functions, that radioactive sources are stored in facilities appropriate for the purpose of such storage. The regulatory body ensures that, where disused sources are stored for extended periods of time, the facilities in which they are stored are fit for that purpose. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 77 | 3.59 |
| IAEA CODEOC 2004 |  | 17 | 20(p)(q)) |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the requirements for registrants and licensees to ensure that arrangements are made promptly for the safe management of and control over radiation generators and radioactive sources, including appropriate financial provision, once it has been decided to take them out of use? [Topic 9.6] | B | F |
| Expectation | There are regulations/regulatory requirements for registrants and licensees to ensure that arrangements are made promptly for the safe management of and control over radiations generators and radioactive sources including financial provision once it has been decided to take them out of use The regulatory body ensures that arrangements are made for the safe management and protection of radioactive sources, including financial provisions where appropriate, once they have become disused. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| IAEA CODEOC 2004 |  | 17 | 22(b) |
| Safety Standards Series No. GSR Part 3 |  | 77 | 3.60 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | How does the government ensure that the use of ionizing radiation for human imaging for purposes other than medical diagnosis, medical treatment or biomedical research, if any, is subject to the system of protection and safety? [Topic 9.6] | B | F |
| Expectation | There are regulatory provisions to ensure justification of human imaging other than for medical diagnosis or treatment takes into account factors such as benefits and detriments; any legal or ethical issues; effectiveness and sustainability; and availability for sufficient resources. There are regulatory requirements in place related to human imaging procedures for regulatory control of the practice and for review of the justification. The government or the regulatory body has ensured that does constraints are established and there are requirements for registrants and licensees to ensure optimization requirements for medical exposure, in case of human imaging for employment related to legal or health insurance purposes without reference to clinical indications. In case of human imaging using radiation which are performed by inspection imaging device used for the detection of concealed objects on or within the body, there are regulatory requirements for registrants and licensees that the requirements of public exposure in planned exposure situations are applied; all persons who undergo procedures with such devices are informed of the possibility of requesting the use of alternative inspection technique that does not use ionizing radiation (where available) and any such device conforms to applicable standards of the International Electrotechnical Commission or the International Organization for Standardization or to equivalent national standards. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 3 |  | 77 | Requirement 18 |

| QTYPE | Primary Question | SA | IL |
| --- | --- | --- | --- |
| Boolean | What are the provisions for control of the import and export of radioactive sources? [Topic 9.6] | B | F |
| Expectation | There are provisions to ensure that transfer of radioactive sources in Category 1 and 2 is conducted with prior notification by the exporting state and as appropriate consent by the importing state in accordance with their respective laws and regulations. There are provisions that import of radioactive sources in Category 1 and 2 is conduct if the recipient is authorized to receive and possess the sources. For exporting countries, there are provisions that export of radioactive sources in Category 1 and 2 is done if the exporting state can satisfy itself that the receiving State has authorized the recipient to receive and possess the source There are provisions to authorize import or export of radioactive sources in exceptional circumstances where an alternative arrangement had been made to ensure the source will be managed in a safe manner. There are provisions that allow for re-entry into its territory of disused radioactive sources if the country has accepted that they may be returned. Answer should include description of any measures planned to improve compliance with IAEA safety requirements relevant to this area. |  |  |
| Help |  |  |  |
| Question Tags (one row per Tag) |  |  |  |
| Category | Name |  |  |
| References (one row per reference) |  |  |  |
| Name | Comments | Page | Para |
| Safety Standards Series No. GSR Part 1 (Rev. 1) |  | 28 | 2.5 (19) |
| IAEA CODEOC 2004 |  | 19 | 23-28 |