## Slide 1: Authorization Process for Operation
Lecture 1.5

## Slide 2
Summary:
Authorization in accordance with the Basic Standards
  Definition
  Main attributions of the regulatory body
  Licensee's responsibilities
Requirements and structure of the licensing
Information in support of the request
Application form and complementary documentation

## Slide 3
Definition:
Authorization:
Concession, by a regulatory body or other governmental body, of a written permit for a person or entity to perform specified activities.

## Slide 4
Authorization - Main attributions of the regulatory body
Establish a regulatory system related to protection and security that includes notification and authorization;
Ensure that authorization for the performance of medical exposures occurs only if the radiological protection of the patient is assured;
Examine and evaluate the safety program presented by the person or organization to be authorized.

## Slide 5
Licensee's responsibilities
Any person or organization that intends to operate a facility or perform an activity must:
  submit to the regulatory body, as appropriate, a notification or authorization request;
  present to the regulatory body the pertinent information necessary in support of the request;
  abstain from carrying out any activity until the authorization has been approved;
  evaluate the planned exposures and adopt all necessary measures in terms of protection and safety;

## Slide 6
Licensee's responsibilities
Further:
  Conduct a safety assessment as part of the application;
  Carry out an evaluation of the possible environmental radiological impacts, associated with the installation or activity;
  Ensure that radioactive waste and discharges into the environment are managed in accordance with the authorization;
  Establish and execute monitoring programs to ensure that the public exposure is in accordance with the conditions of the authorization.

## Slide 7
Requirements and structure of licensing:
National Decision;
Licensing requirements and structure must:
  Be established in the relevant legislation or regulations;
  Be consistent with the act of authorization;
They must also be established:
  the limits and conditions of the activities;
  The enforcement instruments to comply with the requirements..

## Slide 8
Requirements and structure of licensing:
Example of possible authorization acts:
  Authorization for Construction;
  Authorization for source acquisition;
  Authorization for commissioning;
  Authorization for Operation;
  Authorization for the decommissioning of the installation

## Slide 9
Information in support of the request
The authorization request for a PET / CT installation must be accompanied by the following information:
  General data:
    Data of the institution;
    Personal;
    Radiation Sources;
    Description of the installation

## Slide 10
Information in support of the request
The following data of the entity must be presented:
  Name of the applicant (legal entity),
  Name of the company or organization, telephone, fax, email.
  Postal address of the company or organization.
  Practice to be carried out and justification of it.

## Slide 11
Information in support of the request
The legal person of the licensee must be accredited;
The location address of the sources or performance of the practice should be specified if it is different from the institution's address;
The request must be duly signed by the applicant;
The types of diagnostic studies, the workload, the radioactive inventory, the necessary personnel, their training should be identified.

## Slide 12
Information in support of the request
Further…
  Management system;
    Integration with radiological safety.
  Safety evaluation;
    Initiating events of postulated accidents;
    The severity of the potential consequences;
    The existing safety barriers.

## Slide 13
Information in support of the request
Further…
  Occupational exposure:
    Responsibilities and cooperation between employers, owners and workers;
    Radiological Protection Program;
    Radiological surveillance and dose evaluation;
    Information, instruction and training;
    Terms of service and special arrangements.

## Slide 14
Information in support of the request
Further…
  Public exhibition:
    Radiological surveillance program;
    Management of disused sealed sources;
    Management of radioactive waste and discharges to the environment.

## Slide 15
Information in support of the request
Further…
  Medical exposure:
    Specific responsibilities of the licensees;
    Justification of medical exposures;
    Optimization of protection and safety;
    Pregnant women and women in breastfeeding;
    Discharge of patients after therapies;
    Investigation of unintentional and accidental medical exposures.

## Slide 16
Information in support of the request
Further…
  Records;
  Emergencies;
  Decommissioning of the installation.

## Slide 17
Application form and complementary documentation;
Defined in legislation or regulation;
Preferably detailed in the form of guides or other communication tools;
Widely disseminated by the regulatory body.

## Slide 18
Application form and complementary documentation;
Examples of complementary documentation:
  Social contract or similar instrument;
  Nuclear doctors contract;
  Contract of radiological protection supervisor;
  Certificates of calibration of the dose rate area monitors and contamination monitor;
  Tax note of the dose meter;
  Fiscal note of quality control sources;
  Layout of the installation;
  Photographic documentation;

## Slide 19
Application form and complementary documentation;
Examples of formats:
  Shielding project;
  Radiation protection plan;
  Safety analysis report;
  Radioactive waste management plan;
  Physical security plan.